LOG

PROTECTIVE EQUIPMENT REGISTER AND STORAGE LOG

Log

protective equipment register and storage log

"Name" LLC

log form provided in accordance with Appendix 4

to subsection 13.10.2026 of the Labor Safety Rules

during work at height

Log

protective equipment register and storage log

(name of protective equipment, type)

Example of a Completed Protective Equipment Register and Storage Log

| Inventory no | Test date | The date of the next test | Periodic inspection date | Periodic inspection result | Signature of the employee who conducted the inspection | Location | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| Rubber dielectric gloves inv. No. 2 | 13.10.2026 | 13.10.2026 | 13.10.2026 | Serviceable | Power Engineer S. K. Vennychenko | Workshop #1 | Protocol No. 22/1 dated 13.10.2026 |

When maintaining a Protective Equipment Register and Storage Log, several pages should be allocated to each type of electrical protective equipment (do not list all protective equipment consecutively). This makes it easier to monitor the due dates for subsequent tests and inspections. The log pages shall be numbered, bound, and certified by the signature of the responsible person and the enterprise seal.
The test report number shall be entered in the ‘Notes’ column.

When test results are recorded, columns 1, 2, 3, 7 and 8 shall be completed; when periodic inspections are recorded, columns 1, 4, 5, 6, 7 and 8 shall be completed.

Note 1. Periodic inspections shall be conducted at least once every six months in accordance with clause 4.4.2 of the Rules for the Operation of Electrical Protective Equipment.

Note 2. If a test report is issued by an external organization, the report number shall be entered in the ‘Notes’ column.

| Inventory no | Test date | The date of the next test | Periodic inspection date | Periodic inspection result | Signature of the employee who conducted the inspection | Location | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |