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PROTECTIVE EQUIPMENT REGISTER AND STORAGE LOG











Log
protective equipment register and storage log
"Name" LLC






log form provided in accordance with Appendix 4
to subsection 13.10.2026 of the Labor Safety Rules
during work at height
Log
protective equipment register and storage log

(name of protective equipment, type)
Example of a Completed Protective Equipment Register and Storage Log
	Inventory no
	Test date
	The date of the next test
	Periodic inspection date
	Periodic inspection result
	Signature of the employee who conducted the inspection
	Location
	Note

	1
	2
	3
	4
	5
	6
	7
	8

	Rubber dielectric gloves inv. No. 2
	13.10.2026
	13.10.2026
	13.10.2026
	Serviceable
	Power Engineer S. K. Vennychenko
	Workshop #1
	Protocol No. 22/1 dated 13.10.2026


When maintaining a Protective Equipment Register and Storage Log, several pages should be allocated to each type of electrical protective equipment (do not list all protective equipment consecutively). This makes it easier to monitor the due dates for subsequent tests and inspections. The log pages shall be numbered, bound, and certified by the signature of the responsible person and the enterprise seal.
The test report number shall be entered in the ‘Notes’ column.
When test results are recorded, columns 1, 2, 3, 7 and 8 shall be completed; when periodic inspections are recorded, columns 1, 4, 5, 6, 7 and 8 shall be completed.

Note 1. Periodic inspections shall be conducted at least once every six months in accordance with clause 4.4.2 of the Rules for the Operation of Electrical Protective Equipment.

Note 2. If a test report is issued by an external organization, the report number shall be entered in the ‘Notes’ column.
	Inventory no
	Test date
	The date of the next test
	Periodic inspection date
	Periodic inspection result
	Signature of the employee who conducted the inspection
	Location
	Note

	1
	2
	3
	4
	5
	6
	7
	8

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


