APPROVED BY:
Director 
Name LLC

______________ I.P. Surname

Seal

dated ‘__’ _____________ 2026

PROGRAM
for initial (refresher) fire safety briefing

1. General fire safety requirements for maintaining outdoor premises.
      
Requirements for maintaining the premises, roads, etc. Rules for vehicle access and parking. Smoking and open-flame procedures.
2. Fire safety requirements in buildings and rooms used for various purposes.
Procedure for removing combustible waste. Requirements for maintaining fire protection systems. Requirements for facing and finishing materials. 
3. Main requirements for maintaining evacuation routes.
Definition of evacuation routes. Procedure for maintaining evacuation routes.

4. Requirements for the use of primary firefighting equipment.

Definition of primary firefighting equipment. Locations of primary firefighting equipment. Procedure for maintaining, recording, and servicing primary firefighting equipment.

5. Actions in the event of a fire.
Procedure for actions by employees and officials in the event of a fire.


Duration of the initial (refresher) fire safety briefing: 1 hour.

Note: the refresher fire safety briefing covers the same matters as the initial fire safety briefing.

PREPARED BY:

Chief Engineer				____________		         I.P. Surname

(signature)