LIMITED LIABILITY COMPANY

"Name"

O R D E R

"__" ______ 2026 No. _____

"On the Appointment of the Person Responsible

for the safe condition of the racking"

In accordance with NPAOP 0.00-1.75-15 "Rules of occupational health and safety during loading and unloading operations", as well as for the purpose of organizing the safe operation of racks, ensuring their proper maintenance in a safe working order, -

I ORDER:

1. Appoint the warehouse manager Surname, Given Name, Patronymic as the person responsible for the safe condition of the racking.

2. The person appointed responsible for the safe condition of the racking shall:

2.1. Inspect racks according to the approved schedule; record the results of the inspection in the relevant log in the form of Appendix 2 to this order.

2.2. Ensure placement of signs in warehouses indicating the maximum permissible load per unit area of ​​the floor, rack and the rated capacity of the lifting and transport equipment used.

2.3. Provide racks for storage of unitized loads and metal with a sign indicating the number of the rack and the rated load capacity of each storage bay.

2.4. Ensure that hazardous areas and equipment are marked in warehouses with appropriate safety signs, protective paint, plates, posters, etc.

3. I shall retain oversight of compliance with this Order.

Chief Executive Officer ________________ Initials, Surname

(signature)

I have read and understood the Order:

______________ ____________ Initials, Surname

(date) (signature)

Appendix 1

To order No. 8-OHS

dated October 13, 2026

SCHEDULE

RACKING INSPECTION SCHEDULE

for the warehouse premises of "Name" LLC

| Month | Week |  |  |  |
| --- | --- | --- | --- | --- |
|  | I | II | III | IV |
| January | + | + | + | + |
| February | + | + | + | + |
| March | + | + | + | + |
| May | + | + | + | + |
| April | + | + | + | + |
| June | + | + | + | + |
| July | + | + | + | + |
| August | + | + | + | + |
| September | + | + | + | + |
| October | + | + | + | + |
| November | + | + | + | + |
| December | + | + | + | + |

Note: inspect the racks at least once a week.

Appendix 2

To order No. 8-OHS

dated October 13, 2026

LOG

technical inspection of racking

__________________"Name" LLC, warehouse ________________

(name of the enterprise, division)

| Date of technical inspection | Racking designation | Inventory number | Inspection results | Inspector's signature |
| --- | --- | --- | --- | --- |